## Slide 1: Microbial Community Profiling Matt Settles, PhD University of California, Davis settles@ucdavis.edu bioinformatics.ucdavis.edu
Bioinformatics Core
Genome Center
UC Davis

## Slide 2: Disclaimer
This talk/workshop is full of opinion, there are as many different way to perform analysis as there are Bioinformaticians.
My opinion is based on over a decade of experience and spending a considerable amount of time to understand the data and how it relates to the biological question.
Each experiment is unique, this workshop is a starting place and should be adapted to the specific characteristics of your experiment.

## Slide 3: Outline
Data Science
Introduction to Sequencing
Experimental Design: community analysis
Workshop example data
The command line
dbcAmplicons: Generating Amplicons
dbcAmplicons: Python Applicatoin

## Slide 4: Bioinformatics IS a Data Science
Section

## Slide 5: The data deluge
Plucking the biology from the Noise

## Slide 6: Reality
Its much more difficult than we may first think

## Slide 7: The real cost of sequencing
The real cost of sequencing: higher than you think!
Sboner et al. Genome Biology 2011 12:125 doi:10.1186/gb-2011-12-8-125 (2011)

## Slide 8: Sequencing Costs
October – 2015
  $0.014 per Megabase
  $1,245 per Human Sized Genome (30x coverage)
GROWTH IN SEQUENCING
Data Only!!
Does not include any analysis or bioinformatics

## Slide 9: Bioinformatics is Data Science
Bioinformatics
Biology
Computer
Science
Math
Statistics
Biostatistics
Computational Biology
‘The data scientist role has been described as “part analyst, part artist.”’
Anjul Bhambhri, vice president of big data products at IBM
Notes: Big data is an evolving term that describes any voluminous amount of structured, semi-structured and unstructured data that has the potential to be mined for information.
The Cloud is just a rebranding of

## Slide 10: Data Science
Data science is the process of formulating a quantitative question that can be answered with data, collecting and cleaning the data, analyzing the data, and communicating the answer to the question to a relevant audience.
Five Fundamental Concepts of Data Science
statisticsviews.com November 11, 2013 by Kirk Borne
Notes: Kirk Borne – George Mason University

## Slide 11: Experiment Philosophy
Perform Experiment
Sample and Extract RNA/DNA
Analyze
Interpret
Prepare Libraries
Sequence
Design
Experiment

## Slide 12: 7 Stages to Data Science
Define the question of interest
Get the data
Clean the data
Explore the data
Fit statistical models
Communicate the results
Make your analysis reproducible

## Slide 13: Stage 1: define the question
Define the question of interest
Begin with the end in mind!
what is the question
how are we to know we are successful
what are our expectations
dictates
the data that should be collected
the features being analyzed
which algorithms should be use

## Slide 14: Stages 2-4: Collecting and Cleaning
Get the data
Clean the data
Explore the data
Know your data!
know what the source was
technical processing in producing data (bias, artifacts, etc.)
“Data Profiling”
Data are never perfect but love your data anyway!
the collection of massive data sets often leads to unusual , surprising, unexpected and even outrageous.

## Slide 15: Stage 5: Analyzing the data
Fit statistical models
Over fitting is a sin against data science!
Model’s should not be over-complicated
If the data scientist has done their job correctly the statistical models don't need to be incredibly complicated to identify important relationships
In fact, if a complicated statistical model seems necessary, it often means that you don't have the right data to answer the question you really want to answer.

## Slide 16: Stages 6-7: Communicating your results
Communicate the results
Make your analysis reproducible
Remember that this is ‘science’!
We are experimenting with data selections, processing, algorithms, ensembles of algorithms, measurements, models. At some point these must all be tested for validity and applicability to the problem you are trying to solve.

## Slide 17: Bioinformatics done well
Data science done well looks easy – and that’s a big problem for data scientists
simplystatistics.org
March 3, 2015 by Jeff Leek

## Slide 18: Substrate
Cluster
Computing
Cloud
Computing
BASTM
Laptop & Desktop
LINUX

## Slide 19: Environment
“Command Line” and “Programming Languages”
Open
Source
VS
Bioinformatics Software Suite

## Slide 20: Prerequisites
Access to a multi-core (24 cpu or greater), ‘high’ memory 64Gb or greater Linux server [Metagenomics].
Familiarity with the ’command line’.
Basic knowledge of how to install software
Basic knowledge of R and statistical programming
Basic knowledge of Statistics and model building

## Slide 21: Bioinformatics
Know and Understand the experiment
  “The Question of Interest”
Develop a deep familiarity and understanding of the techniques/tools/methods
Build a set of assumptions/expectations
  Mix of technical and biological
  Spend your time testing your assumptions/expectations
  Don’t spend your time finding the “best” software
Don’t under-estimate the time Bioinformatics may take
Be prepared to accept ‘failed’ experiments

## Slide 22: THE Bottom Line
The Bottom Line:
Spend the time (and money) planning and producing good quality, accurate and sufficient data for your experiment.
Get to know to your data, develop and test expectations
Result, you’ll spend much less time (and less money) extracting biological significance and results during analysis.

## Slide 23: Introduction to sequencing
Section

## Slide 24: History
It would take a few more decades after the discovery of the double helix in 1953 before we could readily analyze fragments of DNA.
RNA sequencing actually preceded DNA sequencing when Walter Friers from the University of Ghent published the first complete gene and genome of Bacteriophage MS2 in 1972 and 1976 respectively.
Location specific primer extension: Raw Wu (1970), using DNA polymerase catalysis and specific nucleotide labeling.
Chain-terminating inhibitors: Frederick Sanger (1977), aided in speeding up the process

## Slide 25: history
Leroy E. Hood’s laboratory at the California Institute of Technology announced the first semi-automated DNA sequencing machine in 1986.
Applied Biosystems’ produced the first fully automated sequencing machine, the ABI 370, in 1987, followed by the ABI Prism 373, (1990), ABI Prism 377 (1995), ABI Prism 310 (also 1995) represented the first capillary sequencer, ABI Prism 3700 (1999, the workhorse of the human genome project), ABI 3730xl DNA analyzer (2002) @ 2M bases per day.

## Slide 26: History
Primer Walking
  Design a primer that matches the sequence neighboring the unknown sequence
  Sequence the short DNA strand using the Sanger method
  The new sequenced portion is used to design a new primer and repeat
de novo sequencing or “shotgun sequencing”
  High-molecular weight DNA is sheared into random fragments
  ‘Shorter' fragments are cloned into a vectors
  clones are sequenced from both ends, creating two ”reads”
  original sequence is reconstitutes by ”assembling” the reads

## Slide 27: Roche 454
The first massively parallel method (aka “next generation sequencing”) to become commercially available was developed by 454 Life Sciences in 2005 (acquired by Roche in 2007) and is based on the pyrosequencing technique. Similar to the Sanger method, sequencing is carried out using primed synthesis by DNA polymerase. However in the 454 pyrosequencing method, the DNA fragments are presented with each of the four dNTPs sequentially and without a dye-terminator, as is done with Sanger sequencing, allowing for multiple incorporation in the same flow. The amount of the incorporation is monitored by luminometric detection of the pyrophosphate released (hence the name ”pyrosequencing”).
700 Mb/day

## Slide 28: Illumina (SOLEXA)
The second “next generation” sequencing technology to be released (in 2006) was Illumina Solexa sequencing. A key difference between Roche 454 and Illumina sequencing was the use of chain-terminating nucleotides. The fluorescent label on the terminating base can be removed to leave an unblocked 3’ terminus, mating the chain termination a reversible process. The method thus sequences one base at a time, rather than 0 or more bases as does Roche 454.
> 400Gb/day

## Slide 29: Life Technologies
Ion Torrent PGM, first available in 2011, generates up to 400bp reads (reported) and up to 2Gb (5.5m reads) per run. Cheap fast runs. Ion Proton system can generate up to 10Gb per run. Generates flowgrams and SFF files similar to Roche 454 data as well as the standard fastq files. Ion Torrent is also considered a second generation sequencer.
~ 64Gb/day

## Slide 30: Pacific Biosystems
Pacific Biosystems is so far the most successful third generation DNA sequencing system. Key differences are that its a single molecule, real time (SMRT) technology and capable of producing sequences of multi-kilobases.
~ 2Gb/day (20Gb/day)
Third generation sequencers are single molecule sequencers.

## Slide 31: Oxford nanopore
Another 3rd generation sequencer, founded in 2005 and recently (May 2015) produced a commercial product, the MinION. The sequencer uses nanopore technology developed in the 90’s to sequence single molecules.
> 1Gb per flowcell
FYI: 4th generation sequencing is being described as “In-situ sequencing”, for applications such as ”spatial transcriptomics”

## Slide 32: Illumina sequencing
Illumina SBS
Target Region
P5 BC2
BC1 P7
Read 1 (50 - 300bp)
Read 2 (50-300bp)
BC1 (8bp)
BC2 (8bp)
Insert size
Fragment length

## Slide 33: Genomic Reduction
Depth of Coverage
1X
100000X
Whole Genome
1KB
RADseq
Capture Techniques
Fluidigm Access Array Amplicons
Few or Single Amplicons
Genomic reduction allows for greater multiplexing of samples.
You can fine tune your depth of coverage needs and sample size
with the reduction technique
GBSseq
RNAseq
3GB

## Slide 34: Illumina HISEQ sequencing
http://www.illumina.com/systems/hiseq-3000-4000/specifications.html
2500
MiSeq

## Slide 35: Illumina MISEQ SEQUENCING

## Slide 36: HomeWork
Perform
Visit the Illumina website
How many sequencing machines does Illumina Have?
What are the differences between the HiSeq 2500 series and HiSeq 3000/4000 series machines?
What are differences in read length options between the MiSeq and HiSeq?
What are the differences between the HiSeq’s High Output Run Mode and the Rapid Run Mode
How many reads (and bp) do you get on one lane of a HiSeq 2500 in High Output Run Mode for 1x50 and 2x100, compare those to what you get on the HiSeq 3000
How many reads (and bp) do you get from one run of a MiSeq 2x300.
Getting to know Illumina

## Slide 37: Experimental Design: Community profiling
Section

## Slide 38: Experimental design
In high throughput biological work (Microarrays, Sequencing, HT Genotyping, etc.), what may seem like small technical artifacts introduced during sample extraction/preparation can lead to large changes, or technical bias, in the data.
  Not to say this doesn’t occur with smaller scale analysis such as Sanger sequencing or qRT-PCR, but they do become more apparent and may cause significant issues during analysis.

## Slide 39: General rules for preparing samples
Prepare more samples then you are going to need, i.e. expect some will be of poor quality, or outright fail
Preparation stages should occur across all samples at the same time (or as close as possible) and by the same person
Spend time practicing a new technique to produce the highest quality product you can, reliably
Quality should be established using Fragment analysis traces (pseudo-gel images, FOR RNA RIN > 7.0)
DNA/RNA should not be degraded
  260/280 ratios for RNA should be approximately 2.0 and 260/230 should be between 2.0 and 2.2. Values over 1.8 are acceptable
Quantity should be determined with a Fluorometer, such as a Qubit.
BE CONSISTENT ACROSS ALL SAMPLES!!!

## Slide 40: Sequencing Depth
The first and most basic question is how many base pairs of sequence data will I get Factors to consider are:
  1. Number of reads being sequenced
  2. Read length (if paired consider then as individuals)
  3. Number of samples being sequenced
  4. Expected percentage of usable data
The number of reads and read length data are best obtained from the manufacturer’s website (search for specifications) and always use the lower end of the estimate.

## Slide 41: Sequencing Coverage
Once you have the number of base pairs per sample you can then determine expected coverage Factors to consider are:
  1. Length of the genome (in bp)
  2. Any extra-genomic sequence, or contamination
Coverage is determined differently for ”Counting” based experiments (RNAseq, amplicons) where an expected number of reads per sample is typically more suitable.

## Slide 42: MG Sequencing Designs
Taxonomic Identification
  Amplicon based (e.g. 16s variable regions)
  Shotgun Metagenomics
Functional Characterization
  Shotgun Metagenomics
  Shotgun Metatranscriptomics (active)
Genome Assembly, Function and Variation
  Shotgun Metagenomics
  Shotgun Metatranscriptomics

## Slide 43: Proposal Stage
Considerations (when a literature search turns up nothing)
Proportion that is host (non-microbial genomic content)
Proportion that is microbial (genomic content of interest)
  Number of species
  Genome size of each species
  Relative abundance of each species
#Reads
Coverage
Average_Genome_Size
=
*
0.8
*
Read_Len
Dillution_factor
*
1-Host_prop
*
The back of the envelope calculation

## Slide 44: Rarefaction curves
Miller CS, Baker BJ, Thomas BC, Singer SW, Banfield JF (2011) EMIRGE: reconstruction of full-length ribosomal genes from microbial community short read sequencing data. Genome biology 12: R44 doi:10.1186/gb-2011-12-5-r44.
Plot rarefactions curves of Amplicons, or reconstituted 16S sequence to determine if saturation is achieved

## Slide 45: Metagenomics assembly
To determine if you’ve sequenced ‘enough’ to re-assemble ‘most’ of the community member’s genetic content, look to what is left over - proportionally

## Slide 46: Take HOmes
Experience and/or literature searches (other peoples experiences) will provide the best justification for estimates on needed depth.
Don’t forget about ‘contamination’ can often be a large source of reads.
‘Longer’ reads are better than short reads, especially for assembly.
Libraries can be sequenced again, so do a pilot, estimate ‘contamination’, compute rarefaction/16s coverage then sequence more accordingly.

## Slide 47: HOMEWORK
Given
  Read length = 200
  Desired coverage = 30
  Average genome size = 5Mb
  Host = 95%
  Dilution factor = 1%
How many reads do you need per samples?
Depth of coverage

## Slide 48: Cost Estimation
DNA/RNA extraction QA/QC (Bioanalyzer/Gels)
Metatranscriptomes: Enrichment of RNA of interest and RNA library preparation
  Library QA/QC (Bioanalyzer and Qubit)
  Pooling ($10/library)
Metagenomes: DNA library preparation
  Library QA/QC (Bioanalyzer and Qubit)
  Pooling ($10/library)
Community Profiling: PCR reactions
  Library QA/QC (Bioanalyzer and Qubit/microplate reader)
  Pooling
Sequencing (Number of Lanes / runs)
Bioinformatics (General rule is to estimate the same amount as data generation, i.e. double your budget)
http://dnatech.genomecenter.ucdavis.edu/prices/

## Slide 49: HomeWork
Perform
Search the web for 16s reads per sample recommendations.
Cost estimate a metagenomics (DNA) project analysis on 8 samples, 2x100 on a HiSeq 3000 using the number of reads target determined in the last homework
COVERAGE

## Slide 50: Workshop dataset
Section

## Slide 51: Slashpile
Slash Pile – Accumulated debris from cutting brush or trimming trees
  Measured, bacteria and fungal communities using 5 amplicons
    16sV1V3
    16sV4V5
    ITS1
    ITS2
    LSU
3 – slashpiles
2 depths
Distance from slashpile

## Slide 52: HomeWork
Perform
Briefly scan the metadata files on the github page
Upload the fastq reads files to AWS, then extract them
  https://drive.google.com/open?id=0B_3lTFvg_WhxMVQwUEtZaV9rQzA
Workshop Data

## Slide 53: The Command line
SECTION

## Slide 54: The command line
The command line is powerful and the preferred way to run bioinformatics tools
BASICS:
Prompt msettles@MacBook-Pro:~$
~ is your home director
... $ command [parameters] [files] ENTER
parameters begin with a - short parameter or -- long parameter
Help ... $ man command
… $ command –h
… $ command –help
Tab complete!!

## Slide 55: The command line
Command input/output:
file/folder on the command line, either as a positional argument or a parameter, or defaults
stdin aka ‘standard in’, input pipe
stdout aka ‘standard out’, output pipe
stderr aka ‘standard error’, pipe for error messages
Special characters:
| vertical bar is the pipe, it pipes the stdout of one command
to the stdin of another cmd
< > 2> feeds stdin, stdout, stderr to the command
>> append
& at the end of a command will run the command in the background
. Current directory
.. Up one folder
/ folder delimiter
* wild character, match anything
When naming files/folders avoid special characters and spaces ( use . and _ )!!

## Slide 56: The command line
Basics Commands:
pwd print the working directory (current dir)
ls [file/dir] list the current contents of the directory
ls –lah [file/dir] long list, human readable, show hidden of the directory
cd to change directory
cp f1 f2 copy file f1 to file f2
mv from to mv directory (also way to rename)
mkdir dir make directory
rm file remove file
rmdir dir remove an empty directory
rm –r dir recursively remove a non-empty directory
nano file edit a document
cat f1 [f2] print to stdout file f1 then if provided file f2 (concatenate)
less file view file, one page at a time
head file view the first 10 lines of a file
tail file view the last 10 lines of a file

## Slide 57: CHEaT SHEETS
Cheat Sheets are available on the github page

## Slide 58: HomeWork
Perform
Look at your home directory, what files are already there, what files are hidden
Create a new folder
Move into that folder and create a file (write anything)
Show that file, using less and cat
Go back to your home directory
Create a second folder
Copy the file from the first directory to the new directory
Move to your home directory
Remove both folders
Learn to use the command ’wc’ with ‘man wc’
Play with the new commands
Playing with the command line

## Slide 59: gIT
Git is an open source program for tacking changes in text files. Its was written by the author of the Linux operating system, Linus Torvalds. Use git for:
  Tracking software changes
  Tracking notes changes
  Tracking document changes
Github is a web-based Git repository hosting service, free to use for open repositories
  This workshop is available via git and github
  https://github.com/msettles/Workshop_Community-Profiling

## Slide 60: GIT
git clone [repo] –to clone a copy of a repository from the remote server (github) onto your workstation. With your clone you can edit the documents as you please
git status – displays the differences between your repositories and the current working head (changes you’ve made).
git pull – when you fetch in changes to the repository and merging them in. for example if I edited the workshop repository, you can then pull in those changes to your workstation
git checkout – to checkout different branches

## Slide 61: HOMeWORK
Perform
Install system software
  sudo apt-get install bowtie2
  sudo apt-get install openjdk-7-jdk
  sudo apt-get install ant
Using git clone, install from repositories on github
  FLASH2
    Using Make, link onto the Path
  RDPtools
    Using Make
  dbcAmplicons
    python setup.py install
Install expHTS using git and python

## Slide 62: dbcAmplicons
Section

## Slide 63: Microbial community analysis
Goal: A culture independent method for profiling the diversity of a community.
High-throughput sequencing technologies (such as Illumina) can generate millions of amplicons, across thousands of samples in a single run, and are today our best approach to deeply assess the environmental or clinical diversity of complex microbial assemblages of archaea, bacteria, and eukaryotes.
Using sequence variation within a common gene (e.g. 16s) to assign and count community members rather than counting individual cells. Assume each sequence variant is one community member.

## Slide 64: Amplicons: Common Approach
Common approach
Single PCR
Long primer sequences (~75bp) that contain barcodes and sequencing adapters
Single or dual barcodes
  (dual barcode often within read 2)

## Slide 65: dbcAmplicons
Originally conceived in late 2012 to lower per sample costs on relatively short targeted (PCR) regions
  16S, ITS, LSU, 18S, etc. Community profiling
  Extraction of mitochondria, virae, chloroplast regions, plasmids by PCR
  Genotyping of samples for phylogenomics, genome to phenotype interactions
Uses the Illumina platform, capably of pooling thousands, or even tens of thousands of barcoded samples/targets per sequencing run.
Core Facility friendly, facilitates interactions between and across individual labs, standardizing workflows.

## Slide 66: Amplicons: Alternative Approach
Barcodes and adapters are added in the second round of PCR
PCR-1
Template with overhang
PCR-2
Add barcodes and adapters

## Slide 67: Multiplex Samples
Dual barcoding allows for massively multiplexing of samples using only a relatively few primers
GTATCGTC
TGCTCGTA
GTCGTCGT
GTGCGTGT
GCGTCGTG
GTCGTGTA
GATGTAGC
GAGTGATC
CGCTATCA
CGCTGTAG
Pairing of BC1 and BC2 uniquely identifies sample
5 Pairs of Barcodes allows for multiplexing of 25 samples.
32 Pairs can multiplex 1024 samples in the same sequencing reaction
8bp [Error-Correcting]
Barcodes

## Slide 68: Multiplex Amplicon Targets
48 samples X 48 amplicons
2304 Two-step PCR reactions
PCR-1 product
PCR-2 product
Fluidigm Access Array System
Pool many samples

## Slide 69: dbcAmplicons
Target Specific
Primer Design
Primer Validation
Dual-barcoded
Two-step
PCR
DNA
Pooling
And
Quantification
Illumina Sequencing
Four Read Setup
Preprocess:
Demuliplex by barcodes and primer sequences
Downstream
Analysis
Performed in Researcher’s Lab
Python dbcAmplicons application
Performed in Core Facility
Two-step PCR
highly multiplexed and modular amplicon design

## Slide 70: Sequencing
Read | Sequencing Primer
Read1 primer | CS1 - 5’ ACACTGACGACATGGTTCTACA
Read2 primer | CS2 - 5’ TACGGTAGCAGAGACTTGGTCT
BC1 primer | CS2rc - 5’ AGACCAAGTCTCTGCTACCGTA
BC2 primer | Uses the P5 amplification primer
Illumina four read sequencing run

## Slide 71: Bioinformatics
Illumina bcl2fastq 1.8.4
Four
Fastq files
“Preprocess”
Demultiplex barcode and
primer sequences
https://github.com/msettles/dbcAmplicons
dbcAmplicons
Python Application
Overlap paired reads
(wrapper around custom Flash2)
Downstream Analysis
Barcode | Match determined by edit-distance, allowing for 1 mismatch per barcode (by default)
Primers | Match determined by Levenshtein Distance allowing for 4 mismatches (by default) with the final 4 (by default) bases required to be perfect matches
Barcode Table
Primer Table
Sample Sheet

## Slide 72: Downstream Analysis
Population Community Profiling ( i.e. microbial, bacterial, fungal, etc. )
Targeted Re-sequencing
Screen | Using Bowtie2, screen targets against a reference fasta file, separating reads by those that produce matches and those that do not match sequences in the reference database.
Classify | Wrapper around the MSU Ribosomal Database Project (RDP) Classifier for Bacterial and Archaeal 16S rRNA sequences, Fungal 28S rRNA, fungal ITS regions
Abundance | Reduce RDP classifier results to abundance tables (or biom file format), rows are taxa and columns are samples ready for additional community analysis.
 | Consensus - Reduce reads to consensus sequence for each sample and amplicon
R-functions to be added into dbcAmplicons | Most Common – Reduce reads to the most commonly occurring read in the sample and amplicon ( that is present in at least 5% and 5 reads, by default )
 | Haplotypes – Impute the different haplotypes in the sample and amplicon
dbcAmplicons Python Application

## Slide 73: Supplemental Scripts
convert2Readto4Read.py
  For when samples are processed by someone else
splitReadsBySample.py
  To facilitate upload to the SRC

## Slide 74: Primer Design

## Slide 75: Template Specific Primer Design
Each primer pair contains the following parts
  CS1 or CS2 to attach second adapter/barcode primer
  Phase-shifting bases [see below]
  Linker sequence
  Template specific primer sequence
TCA
GTCA
AGTCA
Phase shifting primer
TS
CS
CA
NCA
NNCA
NNNCA
Phase shifting primers with PCR duplicate detection
TS
CS
CA
Ns, resolve to be PCR duplicate keys and should only ever appear once

## Slide 76: QC: what is a “good” library?
Unused primers and adapters
BAD!
Good!
Unused primer
Template of interest

## Slide 77: Pooling Samples/Amplicons
Even amplicon representation is important and difficult to achieve. Amplicon counts can vary from sample to sample by 100x
Each amplicon should be evaluated by quality (ideally by trace) and quantity (fluourometery). Both qualities will effect final counts.
Best practices
  First group amplicons by quality/quantity profiles
  Pool each group separately
  If a small number of groups consider qPCR on each group for final pooling concentrations
  If a large number re-quantify and pool to final pool.

## Slide 78: Nucleotide diversity
Critically important for imaging clusters

## Slide 79: Amplicon runs are Low Complexity
Sequencing with lower cluster density
Adding in highly diverse libraries (shotgun libraries ~15%)
Phase-shifting template specific primers:

## Slide 80: Benefits/Drawbacks
Drawbacks
Benefits
Maximum Flexibility, fewer target specific primers needed.
Dual barcoding, allowing for massively multiplexing of samples to occur.
Pool multiple targets per run
Software for demultiplexing
Two – step PCR reaction
Sequence the target specific primer

## Slide 81: Community Profiling (Zanne Lab GWU)
576 samples X 5 amplicons
2,880 unique amplicon products
~6,000 reads per amplicon
Characterize the bacterial, fungal and ‘other’ microorganisms
(2x16S, 2xITS, and LSU)
Examine differences in wood decomposition rates across 21 species in two environmental settings (ridge tops and valley bottoms) and how these rates relate to plant functional traits and their fungal and microorganism communities.

## Slide 82: Small Genome Sequencing (Top Lab UI)
1 – Fluidigm Chip
47 samples X 192 amplicons
9,024 unique amplicon products
~900 reads per amplicon
Resequencing of the pMBUI1 plasmid from three evolution experiments in E. coli, C. necator and a combination of the two (i.e. host switching) in order to identify plasmid encoded mutations that may be involved in plasmid host range expansion and evolution
Fluidigm Chip | $710
Pooling/Primers | $220
½ MiSeq run (2x300) | $1,100
Total | $2,030
 | $43/genome

## Slide 83: Phylogenomics (Tank Lab UI)
24 – Fluidigm Chips
576 samples X 96 amplicons
55,296 unique amplicon products
~300 reads per amplicon ~$35/sample
Sequence phylogenetically informative regions
(Chloroplast and Nuclear)
across many, many samples
Uribe-Convers S, Settles ML, Tank DC (2016) A Phylogenomic Approach Based on PCR Target Enrichment and High Throughput Sequencing: Resolving the Diversity within the South American Species of Bartsia L. (Orobanchaceae). PLoS ONE 11(2): e0148203. doi:10.1371/journal.pone.0148203
http://journals.plos.org/plosone/article?id=info:doi/10.1371/journal.pone.0148203

## Slide 84: Future Directions
Include error-correcting barcodes in demultiplexing
Identification of PCR duplicates
Replace RDP classification with another scheme
  Have ideas (for years) but no time
Extend to community analysis (maybe a Shiny app). dbcAmplicons is a data reduction pipeline, not a complete analysis pipeline
Incorporate the R genotyping pipeline into dbcAmplicons
  Extend to inferring copy number (or ploidy levels)

## Slide 85: dbcAmplicons Analysis
Approach is an DNA-result pipeline
Requires
  Illumina bcl2fastq
  Python
    Few python libs, like biom
  Flash2 (https://github.com/dstreett/FLASH2)
  Bowtie2 – for off-target screening
  RDP (https://github.com/rdpstaff/RDPTools) - for classification
dbcAmplicons
  https://github.com/msettles/dbcAmplicons

## Slide 86
Stages of the Pipeline

## Slide 87: Barcodes sheet
Tab-separated text file, 3 columns
  Barcode name
  sequence of read 2
  sequence of read 3
Orientation is important, read 2 comes off in reverse complement

## Slide 88: Primer sheet
Tab-separated text file, 4 columns
  Read from machine
  primer pair ID
  individual primer ID
  sequence of primer (without CS tag!)
accepts IUPAC ambiguity codes

## Slide 89: Sample metadata sheet
Tab-separated text file
4 columns required, additional metadata in additional columns will be added to biom file
Formatting is important! (no #$%^\|{}; characters)
can search multiple primers (comma separated or * [any]) or no primer (-)
can make subdirectories for individual projects

## Slide 90
dbcAmplicons
validate command

## Slide 91: Homework
Generate the
  Barcode, primer and sample input files
Use dbcAmplicons validate to validate the files
Validate

## Slide 92: Sequencing Read files

## Slide 93: Quality Scores

## Slide 94: Qscore Conversion

## Slide 95: Illumina Read naming conventions
CASAVA 1.8 Read IDs
@EAS139:136:FC706VJ:2:2104:15343:197393 1:Y:18:ATCACG
  EAS139 the unique instrument name
  136 the run id
  FC706VJ the flowcell id
  2 flowcell lane
  2104 tile number within the flowcell lane
  15343 ’x’-coordinate of the cluster within the tile
  197393 ’y’-coordinate of the cluster within the tile
  1 the member of a pair, 1 or 2 (paired-end or mate-pair reads only)
  Y Y if the read fails filter (read is bad), N otherwise
  18 0 when none of the control bits are on, otherwise it is an even number
  ATCACG index sequence

## Slide 96
dbcAmplicons preprocess command

## Slide 97: Barcode/Primer Comparison
ACTGACTG
GTCAGCTA
TCAGTCAG
CGTACGTA
ACTTACTG
1
6
6
5
Compares each barcode to all possible barcodes and returns the best match < desired edit distance
Barcode Comparison
Primer Comparison
GGCTTGGTCATTTAGAGGAAGTAA
CGGCTTGGTCATTTAGAGGAAGTAA
ACGGCTTGGTCATTTAGAGGAAGTAA
TACGGCTTGGTCATTTAGAGGAAGTAA
TACGGACTTG_TCATTTACAGGAAGTAAAAGTCGTAA
Compares the beginning (primer region) of each read to all possible primers and returns the best match < specified maximimum Levenshtein disteance + final 4 exact match
Primer 1
Primer 2
Primer 3
Primer 4
Read

## Slide 98: preprocess command
The Minimal preprocess command
Takes:
4 fastq files (Read 1, Index 1, Index 2, Read 2)
Table of barcodes (indices) used in the run
Table ofsequences and names of template-specific primers
Table of sample names and the assigned barcodes and primers for each
dbcAmplicons preprocess \
-B barcodeLookupTable.txt \
-P primerLookupTable.txt \
-S sampleLookupTable.txt \
-1 data_R1_001.fastq.gz

## Slide 99: Standard Output

## Slide 100: Outputs: Identified_Barcodes.txt
Tab-separated text file listing all barcodes that had at least 1 read
Rows list number of reads per barcode
Columns list the primers provided

## Slide 101: Outputs: directories and files
ProjectID column from the sample sheet determines the resulting output structure
A “folder/name” structure creates a directory with the named files within it

## Slide 102: Outputs: fastq files
Header format of all identified sequences:

## Slide 103: Summary of preprocess
Read 1 and Read 2 files for each unique Project_ID
Each sequence identified by barcode, primer and/or by sample name
Table of identified barcodes from the run
A number of parameters available, however defaults work most of the time

## Slide 104: homework
Run
  dbcAmplicons preprocess
Try --test to play with a few parameters
preprocess

## Slide 105: Next: overlapping reads
dbcAmplicons join builds off of preprocess
Uses FLASH2, a modified version of flash (Fast Length Adjustment of SHort reads, http://ccb.jhu.edu/software/FLASH/) to merge paired-end reads.
Modification include:
  Performs complete overlaps with adapter trimming
  Allows for different sized reads (after cutting primer off)
  Discards reads with > 50% Q of 2 (changed to Q10 in dbcAmplicons), which are indicative of adapter/primer dimers

## Slide 106: Flash2 – overlapping of reads
Target Region
Read 1
Insert size
Read 2
Target Region
Read 1
Insert size
Read 2
Target Region
Read 1
Insert size
Read 2
Insert size > length of the number of cycles
Insert size < length of the number of cycles (10bp min)
Insert size < length of the read length
Product: Read Pair
Product: Extended Single
Product: Adapter Trimmed Single

## Slide 107
dbcAmplicons join parameters

## Slide 108: Executing dbcAmplicons join
dbcAmplicons join -O join/match -1 match_16S_R1.fastq.gz -2 match_16S_R2.fastq.gz -v

## Slide 109: dbcAmplicons join outputs
3 fastq files: 1 of overlapped pairs [extendedFrags], 2 remaining single [notCombined_1/2] reads that didn’t overlap
Histogram showing the length of reads that overlapped and the frequency Ignore “innie” and “outie” designations for now

## Slide 110: Histogram
“more match.histogram” will scroll through the file showing the lengths (symbolic)
“match.hist” gives the number of sequences that fall into each numerical category
Useful for determining the lengths of the amplicons that were sequenced

## Slide 111: Homework
Using dbcAmplicons
  Join the preprocessed reads
Modify the parameter
  -x see how the results change
Join

## Slide 112: dbcAmplicons classify
Uses the RDP (Ribosomal Database Project) classifier for bacterial and archaeal 16S, fungal LSU, ITS warcup/unite databases.
Classifies sequences to the closest taxonomic reference provides a bootstrap score for reliability
Concatenates Paired end reads

## Slide 113: Direct classification vs clustering
Clustering – “Because of the increasing sizes of today’s amplicon datasets, fast and greedy de novo clustering heuristics are the preferred and only practical approach to produce OTUs”. Shared steps in these current algorithms are:
  An amplicon is drawn out of the amplicon pool and becomes the center of a new OTU (centroid selection)
  This centroid is then compared to all other amplicons remaining in the pool.
  Amplicons for which the distance is within a global clustering threshold, t (e.g. 3%), to the centroid are moved from the pool to the OUT
  The OTU is then closed. These steps are repeated as long as amplicons remain in the pool.
Problems as I see them, no biological rational to any of the clustering parameters, dependent on ordering, does not consider sequencing errors.

## Slide 114: Classification

## Slide 115: Comparing Clustering Algorithms
Chen W, Zhang CK, Cheng Y, Zhang S, Zhao H (2013) A Comparison of Methods for Clustering 16S rRNA Sequences into OTUs. PLoS ONE 8(8): e70837. doi:10.1371/journal.pone.0070837
http://journals.plos.org/plosone/article?id=info:doi/10.1371/journal.pone.0070837

## Slide 116: Direct Classification
Ribosomal Database Project (RDP) - naïve Bayesian Classifier
  Compares each read to a database
    Database is updates periodically
  Compares by k-mers (15 mers)
  100 bootstraps to establish confidence in result
Order does not matter, no 3% !
Drawbacks
  Accepts only fasta files
  Can be slow
  Down to genus only
  Kmers are based on whole 16s

## Slide 117: Direct classification
Taxa 1
Taxa 2
Taxa 3
Read 1
Read 2
Read 3
Read 4

## Slide 118
dbcAmplicons classify command

## Slide 119: Using dbcAmplicons classify
dbcAmplicons classify -b 7500
-p 1
--rdpPath RDPTools/classifier.jar
-O classify/classified
-U join/match.extendedFrags.fastq.gz
-1 join/match.notCombined_1.fastq.gz
-2 join/match.notCombined_2.fastq.gz

## Slide 120: Using dbcAmplicons classify

## Slide 121: fixrank files
HWI-M01380:50:000000000-A641U:1:1101:18594:1568|Sample26:16S Bacteria domain 1.0 "Actinobacteria" phylum 1.0 Actinobacteria class 1.0 Actinomycetales order 1.0 Actinomycetaceae family 1.0 Varibaculum genus 1.0
HWI-M01380:50:000000000-A641U:1:1101:17948:1574|Sample28:16S Bacteria domain 1.0 "Actinobacteria" phylum 0.96 Actinobacteria class 0.96 Bifidobacteriales order 0.9 Bifidobacteriaceae family 0.9 Aeriscardovia genus 0.23
HWI-M01380:50:000000000-A641U:1:1101:14301:1587|Sample12:16S Bacteria domain 1.0 Firmicutes phylum 0.98 Bacilli class 0.97Lactobacillales order 0.86 Lactobacillaceae family 0.81 Lactobacillus genus 0.61
HWI-M01380:50:000000000-A641U:1:1101:18207:1603|Sample19:16S Bacteria domain 1.0 Firmicutes phylum 1.0 Bacilli class 1.0 Lactobacillales order 1.0 Lactobacillaceae family 1.0 Lactobacillus genus 1.0
HWI-M01380:50:000000000-A641U:1:1101:17585:1630|Sample17:16S Bacteria domain 1.0 Firmicutes phylum 1.0 Bacilli class 1.0 Lactobacillales order 1.0 Lactobacillaceae family 1.0 Lactobacillus genus 1.0
HWI-M01380:50:000000000-A641U:1:1101:22144:1652|Sample26:16S Bacteria domain 1.0 "Actinobacteria" phylum 1.0 Actinobacteria class 1.0 Actinomycetales order 1.0 Actinomycetaceae family 1.0 Actinomyces genus 1.0

## Slide 122: Homework
Classify your sequences using dbcAmplicons classify
View the fixrank file with more
Classify

## Slide 123
dbcAmplicons abundance

## Slide 124: Generating Abundance Tables
Abundance tables
  Rows are taxa
  Columns are samples
  Counts of the number of amplicons for each taxa/samples
Proportions tables
  Same as abundance but each cell is the proportion of amplicons
Biom file (Biological Observation Matrix)
  JSON file format for microbiome files
  http://biom-format.org
  Abundance tables are 0 heavy, a biom file removes the 0’s as well as stores extra metadata

## Slide 125: dbcAmplicons abundance
dbcAmplicons abundance -F classify/classified.fixrank
Outputs 3 files:
table.abundance.txt
table.proportions.txt
table.taxa_counts.txt

## Slide 126: table.abundance.txt
Can open file in spreadsheet; lists lowest taxonomically classified level for each sample by read count

## Slide 127: table.proportions.txt
Similar to abundance.txt, but instead lists proportions of each taxonomic level found per sample

## Slide 128: table.taxa_counts.txt
Summary of each classification and the number of counts for that level across all samples

## Slide 129: HOmework
Use dbcAmplicons abundance to modify abundance tables
  Threshold
  Rank
Generate a biom formatted file
Use the python biom package to convert the biom file to a new tab delimited file
Abundance tables

## Slide 130: convert2ReadTo4Read
Back-converts a set of 2 Illumina paired-end files that have already been preprocessed by dbcAmplicons into 4 reads, splitting the 2 barcodes into separate reads.
Useful for reprocessing datasets and analyzing barcode counts.
Can be used to back covert non-dbcAmplicons reads to acceptable by dbcAmplicons

## Slide 131: splitReadsBySample (upload to SRA)
Takes processed reads from dbcAmplicons and bins each read by its sample ID. If no sample IDs are assigned, reads will be split by individual barcode.
Each sample receives a Read 1 and Read 2.
Designed for easy upload to the SRA